## Cedar Court
Description | Existing lights operation |  |  |  | Current lighting |  |  |  |  | Proposed lighting
| Hours per week | Weeks per year | Annual hours of use | % of use | No Units | Watts | £ p/kWh | kWh p.a. | Annual running cost | No units | watts | £ p/kWh | kWh p.a. | Annual running cost | Saving p.a.
EXAMPLE ROOM | 42 | 51 | 2142 | 24.45% |  |  |  | 0 | 0 |  |  | 0 | 0 | 0 | 0
|  |  | 0 | 0% |  |  |  | 0 | 0 |  |  | 0 | 0 | 0 | 0
|  |  | 0 | 0% |  |  |  | 0 | 0 |  |  | 0 | 0 | 0 | 0
|  |  | 0 | 0% |  |  |  | 0 | 0 |  |  | 0 | 0 | 0 | 0
|  |  | 0 | 0% |  |  |  | 0 | 0 |  |  | 0 | 0 | 0 | 0
|  |  | 0 | 0% |  |  |  | 0 | 0 |  |  | 0 | 0 | 0 | 0
|  |  | 0 | 0% |  |  |  | 0 | 0 |  |  | 0 | 0 | 0 | 0
|  |  | 0 | 0% |  |  |  | 0 | 0 |  |  | 0 | 0 | 0 | 0
|  |  | 0 | 0% |  |  |  | 0 | 0 |  |  | 0 | 0 | 0 | 0
|  |  | 0 | 0% |  |  |  | 0 | 0 |  |  | 0 | 0 | 0 | 0
|  |  | 0 | 0% |  |  |  | 0 | 0 |  |  | 0 | 0 | 0 | 0
[10 empty] | 0 | New units |  |  |  | 0
Cost per unit
[10 empty] | 0 | Total cost of install
Instructions | [9 empty] | #DIV/0! | years payback
| Complete information in green boxes | [8 empty] | #DIV/0! | % ROCE
Column B | Consider how much the lights are used in each room/area. Estimate hours per week
Column C | Is the premises closed over Christmas or at other times? Estaimte operational weeks per year.
Column G | How many exisiting light fittings are in the room/space?
Column H | How many watts does each light fitting use?
Column L | How many new light fittings will be fitted?
Column M | How many watts will each fitting use?
Cell L15 | Enter the cost per fitting (or if not known then enter total cost of proposed system in cell L16)
Finally delete row 3 - the example room - so it does not mess up your calculations.